## Slide 1: Voluntary and mandatory standards
Module 279-17-C Regulations, Standards and Ethics
Unit C 17.5 Global Medical Equipment Regulations
17.5.3 Contrast voluntary and mandatory standards and provide examples
of each
dr. Chris R. Mol, BME, NORTEC, 2015
o Difference between voluntary and mandatory standards
o Agencies that mandate standards
o Role of government in legislating mandatory standards
Voluntary & Mandatory standards
©

## Slide 2: Voluntary vs Mandatory standards
dr. Chris R. Mol, BME, NORTEC, 2015
Voluntary and Mandatory Standards
Most standards are Voluntary
Examples of Voluntary Standards (USA)
Voluntary & Mandatory standards
©

## Slide 3: Standards can be mandated (become Mandatory) by a
dr. Chris R. Mol, BME, NORTEC, 2015
Voluntary and Mandatory Standards
Company: ‘All our medical equipment should have be painted in our Brand colours’
Professional society: ‘BMET’s in Zambia should keep an inventory in their hospital’
Industry: ‘Medical Devices should be electrically safe through following IEC 60601’
Government: ‘All hospitals in Zambia should maintain an inventory’
Trade Agreement: ‘Import of Chinese equipment should come with an English language user manual’
with each Mandatory Standard it must be specified what the sanction is for ‘non-compliance’.
A Standard may be called a Regulation
when it becomes mandated by a government or an international trade agreement.
©

## Slide 4: Examples of Mandatory Standards (USA)
dr. Chris R. Mol, BME, NORTEC, 2015
Voluntary and Mandatory Standards
and there are
many, many more …..
http://www.cpsc.gov/en/Regulations-Laws--Standards/Regulations-Mandatory-Standards-Bans
©

## Slide 5: Examples of Mandatory Standards (USA)
dr. Chris R. Mol, BME, NORTEC, 2015
Voluntary and Mandatory Standards
Final and Proposed Rules
High Chairs, Infant Bouncer Seats, Children's Folding Chairs and Stools, Infant Bath Tubs, Portable Hook-On Chairs, Frame Child Carriers, Substantial Product Hazard List: Extension Cords, Corded Window Coverings, Prohibition of Children's Toys and Child Care Articles Containing Specified Phthalates, Recreational Off-Highway Vehicles, Seasonal and Decorative Lighting Products, Magnet Sets, Sling Carriers, All-Terrain Vehicles (ATVs), Soft Infant and Toddler Carriers, Hand-Held Infant Carriers, Strollers and Carriages, Bedside Sleepers, Bath Seats, Toddler Beds, Full-Size Cribs, Bassinets and Cradles, Cigarette Lighters Certificates of Compliance, ….
©

## Slide 6: Role of government in legislating mandatory standards
dr. Chris R. Mol, BME, NORTEC, 2015
Voluntary and Mandatory Standards
When a standard is mandated by a government or an international trade agreement, it may be called a Regulation and it normally becomes Legally Obligatory.
Countries that are considering making standards mandatory should take into account the potential consequences under international agreements on technical barriers to trade.
A barrier to trade is a government-imposed restraint on the flow of international goods or services.
The most common barrier to trade is a tariff—a tax on imports. Tariffs raise the price of imported goods relative to domestic goods (goods produced at home)
In other words: make sure that you do not make certain standards mandatory for import products in your country if these are in conflict with international regulations,
unless you want to pick a fight…
©

## Slide 7
END
The creation of this presentation was supported by a grant from THET:
see https://www.thet.org/