## Slide 1: Equipment management standards across the life cycle
Module 279-17-C Regulations, Standards and Ethics
Unit C 17.5 Adhering to Medical Equipment Standards
17.5.8 Applying equipment management standards across the life cycle
dr. Chris R. Mol, BME, NORTEC, 2015
    Acquisition
    Installation and commissioning
    Use
    Disposal
©

## Slide 2: Adopting Standards in hospital workshops
dr. Chris R. Mol, BME, NORTEC, 2015
Standards across life cycle
©
Without adoption of standards,
all local workers & managers do things in the way they feel themselves that is best.
Some hospital equipment workshops will be run in a better way than others, simply because some workers/managers are better than others. Some will be run more poorly, simply because…….
With the adoption of standards:
Everybody benefits from the knowledge and best practices of the best experts (in the country and/or the world).
In total, costs are reduced because not everybody has to re-invent the wheel by himself. Available resources are used better.

## Slide 3: Where do Standards come from ?
dr. Chris R. Mol, BME, NORTEC, 2015
Standards across life cycle
©
The MoH can set up (regulations and/or) standards on certain topics related to equipment management
  guidelines on Equipment Donations
  setting up an Equipment Management Committees in each government hospital
  equipment inventory format
  work forms
The BioMedical Technologist’s Association of Zambia (or equivalent) can set up guidelines and ask its members to adhere to these.
Both MoH and BMAZ can propose/guide/regulate to adopt international standards and regulations
A hospital can define - by itself - ‘ways of working’. That is not a standard, but could lead to one via adoption of these ‘ways’ by other hospitals.

## Slide 4: What topics are good for adopting standards?
dr. Chris R. Mol, BME, NORTEC, 2015
Standards across life cycle
©
In the following slides, the various activities around Medical Equipment Management throughout the life cycle are inspected to see what standards could usefully be adopted within the scope of this activity.
This is taken from last year’s course on Management and Maintenance of Medical Equipment as well as from MHRA and AAMI standards.

## Slide 5: Standards in Acquisition / Procurement
dr. Chris R. Mol, BME, NORTEC, 2015
Standards across life cycle
©
National standards on Tender procedures
Standard Equipment lists (per hospital type)
Generic equipment descriptions
Standardization of preferred suppliers and/or equipment models
…

## Slide 6: Installation and commissioning
dr. Chris R. Mol, BME, NORTEC, 2015
Standards across life cycle
©
Procedures describing acceptance testing; including communication with users on arrival of shipment and on installation
Safety Testing
Equipment Acceptance Record

## Slide 7: (Initial) training of maintenance staff and users
dr. Chris R. Mol, BME, NORTEC, 2015
Standards across life cycle
Procedures around user training, including:
  who to invite
  registration who is present
  repeat sessions
  content of user training
  etc.
©

## Slide 8: Preventive Maintenance and Calibration
dr. Chris R. Mol, BME, NORTEC, 2015
Standards across life cycle
There must be descriptions on what a technician needs to do when inspecting a device; per device.
Each inspection procedure must include the estimate of the time required to perform that procedure
There must be a list of (service) documents that are required for maintenance.
There must be a description on how documentation regarding equipment repair is kept/archived
Inspection intervals per equipment should be listed and verified in line with the manufacturer’s instructions and taking
A gradual way of introducing Preventive maintenance in a hospital
©

## Slide 9: Corrective Maintenance
dr. Chris R. Mol, BME, NORTEC, 2015
Standards across life cycle
There must be a list of (service) documents that are required for maintenance.
There must be a description on how documentation regarding equipment repair is kept/archived
How each device should be maintained and repaired, and by whom
Arrangements to ensure items subject to inspection, maintenance, repair or disposal should be decontaminated beforehand
The time scale for repairs to be completed
Corrective maintenance forms for bookkeeping must be defined
©

## Slide 10: Equipment Control & Asset Management (Inventory)
dr. Chris R. Mol, BME, NORTEC, 2015
Standards across life cycle
A hospital must maintain an equipment inventory
it must be defined what equipment goes into the inventory and what not
certain ‘fields’ are obligatory in the inventory , certain fields are optional
the inventory must be accurate – in line with reality
the inventory must be audited yearly (by checking a random selection of equipment)
There should be systems in place to ensure reporting of device issues including:
  the effectiveness of the medical devices management system
  the condition and performance of medical devices including: device failures and issues; utilisation, performance, maintenance; repair and calibration history
©
Healthcare organisations should set out a long term approach and objectives for the management of their medical devices, including strategic replacement and development equipment procurement planning.

## Slide 11: Record Keeping / work order management
dr. Chris R. Mol, BME, NORTEC, 2015
Standards across life cycle
©

## Slide 12: Disposal
dr. Chris R. Mol, BME, NORTEC, 2015
Standards across life cycle
Decommissioning should include decontamination, making safe and making unusable.
Decommissioning of device incorporating radioactive sources must be carried out in accordance with the Ionising Radiations Regulations.
If a device stores patient identifiable data, this should be certified as securely erased before disposal. Data on any device should be forensically unrecoverable, i.e. patient data must be over-written.
Decommissioning aims to make devices safe and unusable, while minimising damage to the environment.
Any device deemed unfit for use should be decommissioned.
©

## Slide 13: Maintenance staff and facilities
dr. Chris R. Mol, BME, NORTEC, 2015
Standards across life cycle
Required number of (BMET) staff should be identified, adequate for maintenance tasks
Training for each BMET is required to be at least 72 hours over a 3 year period.
Training for a new employee is at least 36 hours in the first year.
Adequate workshop space must be allocated
Space to store unused equipment should be identified
Financial management: budgets must be established
Test equipment must be defined
Healthcare organisations should establish a medical devices management group to develop and implement policies across the organisation.
©

## Slide 14: Patient Safety and Risk Management; Accident Investigation
dr. Chris R. Mol, BME, NORTEC, 2015
Standards across life cycle
Incident Investigation must be executed with qualified persons
It must be defined who will report adverse incidents to what official agencies.
root cause analysis must be performed
©

## Slide 15
END
The creation of this presentation was supported by a grant from THET:
see https://www.thet.org/